## Slide 1: Real-Time ECG Signal Simulation and Analysis
Name: Youssef Essam
Course: Biomedical Acquisition
Course Code: BMD351(FALL 2024 )
Date: 5-1-2025

## Slide 2: Introduction
Simulate ECG signals.
Process and analyze the signals to extract the heart rate.
ECG (Electrocardiogram) measures the electrical activity of the heart.
It helps in diagnosing heart conditions.
What is ECG?
Objective of the Project:

## Slide 3: Tools and Libraries
Programming Language: Python
Libraries Used:
NeuroKit2: For ECG simulation and R-peak detection.
Scipy: For signal filtering (Butterworth filter).
Matplotlib: For visualization.
NumPy: For numerical calculations.

## Slide 4: Signal Simulation
Objective: Generate a 10-second ECG signal at 500 Hz sampling rate.

## Slide 5: Signal Filtering
Objective: Apply a Butterworth filter to remove noise (0.5-50 Hz).

## Slide 6: R-Peak Detection
Objective: Detect R-peaks in the filtered signal and calculate heart rate.

## Slide 7: Heart Rate Results
Objective: Calculate the average heart rate.
Output:

## Slide 8: Challenges
Difficulties Faced:
Choosing appropriate filter parameters for noise removal.
Validating results without access to real ECG data.
Understanding and processing RR intervals.
Solutions:
Adjusted filter parameters (0.5-50 Hz).
Used NeuroKit2’s built-in functions for validation
.

## Slide 9: Applications
Potential Real-World Applications:
Real-time patient monitoring in hospitals.
Development of wearable ECG devices.
Biomedical research for advanced signal processing.

## Slide 10: Conclusion
Future Work:
Integration with real-time hardware for live ECG analysis.
Adding advanced metrics like HRV (Heart Rate Variability).
Summary:
Successfully simulated, filtered, and analyzed ECG signals.
Accurately calculated the average heart rate and visualized results.

## Slide 11: 10 references For Comparison
6-A Wavelet-Based ECG Delineator Link
7-Robust Signal Detection in Multichannel ECGs Link
8-Using Wavelet Transforms for ECG Characterization Link
9-A Comparison of Noise Sensitivity of QRS Detection Algorithms Link
10-A Review on ECG Signal Denoising Techniques Link
1-A Real-Time QRS Detection Algorithm Link
2-PhysioBank, PhysioToolkit, and PhysioNet: Components of a New Research Resource for Complex Physiologic Signals Link
3-Open Source ECG Analysis Software Link
4-Signal Processing Methods for Heart Rate Variability Link
5-NeuroKit2: A Python Toolbox for Physiological Signal Processing Link

## Slide 12: Thank You